## EDM Return
Water Company Name | Site Name | Permit No. | Activity Reference (if more than one discharge) on permit | Shellfishery (Only populate for storm overflows that have Shellfish water EDM requirements) | Bathing Beach (Only populate for storm overflows that have bathing water EDM requirements) | Total Duration (hours) of all spills prior to processing through 12-24 hour counting method | Counted spills using 12-24hr counting method | % of reporting period EDM operational | Comments
Dwr Cymru Welsh Water | 3 ELMS ROAD CSO HEREFORD | AN0078801 | SO |  |  | 5 | 14 | 97.37
Dwr Cymru Welsh Water | A SEWAGE PUMPING STATION MOCCAS WWT | AN0379901 | SO |  |  | 177.5 | 18 | 100
Dwr Cymru Welsh Water | ALDFORD STW ALDFORD CHESHIRE | CM0184701 | SO |  |  | 717 | 107 | 96.45 | Unreliable until 01/01/2020 to 13/01/2020, discharge mechanism revised. Reliable data from 13/01/2020.
Dwr Cymru Welsh Water | BACHE TANKS COUNTESS WAY CHESTER , | CG0359901 | SO |  |  | 17.75 | 11 | 100
Dwr Cymru Welsh Water | BELGRAVE PARK CHESTER , | CG0360901 | SO |  |  | 0 | 0 | 99.97
Dwr Cymru Welsh Water | BOATHOUSE INN CSO | NPSWQD005835 | SO |  |  | 24 | 17 | 100
Dwr Cymru Welsh Water | BODENHAM MILLCROFT | Unpermitted-73341 | SO |  |  | 33 | 5 | 100
Dwr Cymru Welsh Water | BODENHAM MOOR | Unpermitted-73340 | SO |  |  | 2166.5 | 100 | 100
Dwr Cymru Welsh Water | BRAMPTON STREET SSO | AN0014601 | SO |  |  | 179.25 | 79 | 98.34
Dwr Cymru Welsh Water | BROMYARD - JUNCTION CRUXWELL S | AN0122001 | SO |  |  | 47 | 112 | 99.39
Dwr Cymru Welsh Water | BROMYARD - PORTHOUSE FARM IND. | AN0069901 | SO |  |  | 11.75 | 16 | 97.49
Dwr Cymru Welsh Water | BROMYARD STW BROMYARD | NPSWQD009905 | SO |  |  | 248.5 | 141 | 97.42
Dwr Cymru Welsh Water | CANNOP ROAD SPS, SPEECH HOUSE ROAD | NPSWQD010007 | SO |  |  | - | - | 0 | Data unreliable from 01/01/2020 00:00 - 31/12/2020 23:45. Due to static telemetry signal. Instrumentation task escalated through business as usual for instrumentation defect.
Dwr Cymru Welsh Water | CAWDOR ARCH SSO | AN0014501 | SO |  |  | 0.25 | 1 | 3.09 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | CHESTER CRANE STREET - SSO | CM0167501 | SO |  |  | 40.5 | 14 | 30.22 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | CHESTER PARKGATE COURT PS | CM0191201 | SO |  |  | 13.5 | 2 | 99.64
Dwr Cymru Welsh Water | CHESTER STW STORM TANK | CM0017802 | SO |  |  | 52 | 30 | 99.91
Dwr Cymru Welsh Water | CHESTER TROOPER INN SSO | CM0184601 | SO |  |  | 78.5 | 30 | 100
Dwr Cymru Welsh Water | CHESTER WEIR (SOUTH BANK) | CM0125201 | SO |  |  | 77.5 | 26 | 99.58
Dwr Cymru Welsh Water | CHESTER WWTW PARENT CSO | NPSWQD005869 | SO |  |  | 64.25 | 41 | 99.91
Dwr Cymru Welsh Water | CHRISTLETON PLOUGH LANE EAST P | CM0185401 | SO |  |  | 7.75 | 6 | 100
Dwr Cymru Welsh Water | CHRISTLETON WHITCHURCH ROAD PS | CM0185501 | SO |  |  | 16.25 | 13 | 100
Dwr Cymru Welsh Water | CONGREGATIONAL CHAPEL CSO SHERFORD | AN0069801 | SO |  |  | 120 | 81 | 99.99
Dwr Cymru Welsh Water | CSO 1B EIGN STW OUTFALL WORKS RD | AN0315201 | SO |  |  | 56.5 | 12 | 100
Dwr Cymru Welsh Water | CSO 4A GREAT WESTERN WAY HEREFORD | AN0266401 | SO |  |  | 50.25 | 5 | 99.93
Dwr Cymru Welsh Water | CSO ADJACENT A548 ROAD BRIDGE | CG0324302 | SO |  |  | 130 | 55 | 100
Dwr Cymru Welsh Water | CSO AT TATTENHALL STW TATTENHALL N | CM0105502 | SO |  |  | 358.25 | 85 | 99.75
Dwr Cymru Welsh Water | DALESIDE CSO DALESIDE CHESTER | CG0405401 | SO |  |  | 0 | 0 | 99.61
Dwr Cymru Welsh Water | DEE LANE CHESTER | CM0124801 | SO |  |  | 272 | 90 | 99.97
Dwr Cymru Welsh Water | DEVA TERRACE | CM0124701 | SO |  |  | 64 | 64 | 98.41
Dwr Cymru Welsh Water | EARDISLEY WWTW EARDISLEY HEREFORD | AL1001102 | SO |  |  | 1198.75 | 71 | 100
Dwr Cymru Welsh Water | ECCLESTON PS | CM0185001 | SO |  |  | 28.25 | 10 | 100
Dwr Cymru Welsh Water | EDGAR PARK CSO HANDBRIDGE CHESTER | CM0167601 | SO |  |  | 6.5 | 9 | 99.71
Dwr Cymru Welsh Water | EIGN STW OUTFALL WORKS ROAD H | AH1001101 | SO |  |  | 1004.5 | 82 | 99.79
Dwr Cymru Welsh Water | FOWNHOPE STW FOWNHOPE HEREFORDS | AN0390901 | SO |  |  | 0 | 0 | 95.84
Dwr Cymru Welsh Water | GAYTON CEDARWAY PUMPING STATION | CM0193801 | SO | Dee W |  | 0 | 0 | 68.79 | Deterioration of REDACTED network coverage. Alternative solutions are being considered.
Dwr Cymru Welsh Water | GAYTON PARKWAY SSO | CM0197201 | SO | Dee W |  | 73.25 | 9 | 100
Dwr Cymru Welsh Water | GLADSTONE ROAD CSO | CG0359801 | EO | Dee W |  | 2.25 | 6 | 99.99
Dwr Cymru Welsh Water | GRANDSTAND ROAD CSO HEREFORD | AN0077701 | SO |  |  | 121.5 | 55 | 97.4
Dwr Cymru Welsh Water | GREAT HOUGH BROOK CSO LYDBROOK | AN0014901 | SO |  |  | 200.5 | 40 | 99.52
Dwr Cymru Welsh Water | GREAT HOUGHBROOK PS ADJACENT TO FOR | AN0379401 | EO |  |  | 149.25 | 18 | 69.87 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | GREENFIELDS DRIVE CSO | CM0170201 | SO | Dee W |  | 1.5 | 5 | 100
Dwr Cymru Welsh Water | HANDBRIDGE GREENBANK PS | CM0185601 | SO |  |  | 0 | 0 | 100
Dwr Cymru Welsh Water | HARP INN CSO | CM0170301 | SO | Dee W |  | 43.75 | 32 | 99.9
Dwr Cymru Welsh Water | HEREFORD - BELMONT ROUNDABOUT | AN0078601 | SO |  |  | 89.25 | 12 | 99.79
Dwr Cymru Welsh Water | HEREFORD - BENEATH GREYFRIARS | AN0077101 | SO |  |  | 288.25 | 72 | 95.58
Dwr Cymru Welsh Water | HEREFORD - SEATON AVENUE | AN0078101 | SO |  |  | 0.25 | 1 | 57.63 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | HEREFORD-THREE ELMS ROAD/OATFI | AN0078901 | SO |  |  | 3.75 | 3 | 98.29
Dwr Cymru Welsh Water | HESWALL SEABANK ROAD | CM0173801 | SO | Dee W |  | 457.75 | 97 | 97
Dwr Cymru Welsh Water | HESWALL STORAGE TANK CSO HESWALL | CG0355101 | SO | Dee East |  | 40.75 | 11 | 100
Dwr Cymru Welsh Water | HESWALL STW TARGET LANE HESWALL | CG0362601 | SO | Dee East |  | 0.25 | 1 | 99.51
Dwr Cymru Welsh Water | HESWELL COTTAGE LANE PS | CM0193701 | SO & EO | Dee E |  | 3.5 | 3 | 68.03 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | HOMS ROAD PS | AN0014401 | SO |  |  | 365.5 | 88 | 100
Dwr Cymru Welsh Water | HUNTINGTON RAKE AND PICKLE PS | CM0184901 | SO |  |  | 8.5 | 3 | 100
Dwr Cymru Welsh Water | JOYFORD MILL SSO | AN0070101 | SO |  |  | 41.5 | 3 | 7.68 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | KINGTON - MANHOLE 27 | AN0125601 | SO |  |  | 90.75 | 28 | 99.59
Dwr Cymru Welsh Water | KINGTON - MANHOLE 29 | AN0125701 | SO |  |  | 153 | 55 | 98.98
Dwr Cymru Welsh Water | KINGTON - MANHOLE 50 | AN0125801 | SO |  |  | 16.25 | 5 | 65.97 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | Kington CSO - Access Road to STW | Unpermitted-72664 | SO |  |  | 87.25 | 71 | 99.13
Dwr Cymru Welsh Water | KINGTON STW WATERLOO ROAD KINGTON | AN0353201 | SO |  |  | 66.5 | 31 | 99.99
Dwr Cymru Welsh Water | LEOMINSTER STW LEOMINSTER HEREFORD | AN0228302 | SO |  |  | 358 | 66 | 100
Dwr Cymru Welsh Water | LEYMANS FIELD PS BRAEMAR GARDEN | AN0270801 | EO |  |  | 31.75 | 12 | 100
Dwr Cymru Welsh Water | LITTLE ROODEE CSO CHESTER | CM0167101 | SO |  |  | 170.25 | 57 | 100
Dwr Cymru Welsh Water | LOWER LYDBROOK RIVER WYE CSO | AN0015001 | SO |  |  | 0 | 0 | 99.79
Dwr Cymru Welsh Water | LUSTON VILLAGE | Unpermitted-33630 | SO |  |  | 132 | 13 | 100
Dwr Cymru Welsh Water | LYDBROOK SEWAGE TREATMENT WORKS | AN0084001 | SO |  |  | 88 | 14 | 56.4 | Unreliable until 09/06/2020, discharge mechanism revised. Reliable data from 09/06/2020.
Dwr Cymru Welsh Water | MALPAS STW - SSO (SEE CM008060 | CM0084901 | SO |  |  | 10 | 18 | 100
Dwr Cymru Welsh Water | MALPAS SUNNYSIDE PS | CM0191301 | SO |  |  | 80.75 | 17 | 99.56
Dwr Cymru Welsh Water | MARLSTON CUM LACHE PS SSO | CM0075401 | SO |  |  | 35.5 | 16 | 99.6
Dwr Cymru Welsh Water | MARLSTON-CUM-LACHE PUMPING STATION | CM0184801 | SO |  |  | 18.5 | 9 | 100
Dwr Cymru Welsh Water | MARSHLANDS ROAD PS | CG0381201 | SO | Dee W |  | 342.5 | 78 | 95.36
Dwr Cymru Welsh Water | MISS CHAVES CSO MOOR HSE HEREFORD | AN0266301 | SO |  |  | 4.5 | 18 | 99.99
Dwr Cymru Welsh Water | MORETON ON LUGG STW VIA LUGG VIEW | AN0357101 | SO |  |  | 1028.5 | 64 | 99.95
Dwr Cymru Welsh Water | MOSTON ROAD CSO | NPSWQD009967 | SO |  |  | 2.25 | 2 | 99.99
Dwr Cymru Welsh Water | MUCH DEWCHURCH NEW STW OS PARCEL 24 | AN0231302 | EO |  |  | 307 | 19 | 99.94
Dwr Cymru Welsh Water | NESTON WWTW (STW) NESTON | CG038210101 | SO | Dee W |  | 1154.5 | 115 | 99.97
Dwr Cymru Welsh Water | NEW COURT SPS LUGWARDINE HEREFORD | AN0362401 | SO |  |  | 528 | 50 | 99.72
Dwr Cymru Welsh Water | NEWLAND STW LAUNDRY LANE NEWLAND | AN0294101 | SO |  |  | 862.75 | 68 | 99.99
Dwr Cymru Welsh Water | NEWLAND STW LAUNDRY LANE NEWLAND | AN0294201 | SO |  |  | 88.75 | 25 | 99.99
Dwr Cymru Welsh Water | NEWLAND STW LAUNDRY LANE NEWLAND | AN0294901 | SO |  |  | 1291.25 | 82 | 99.99
Dwr Cymru Welsh Water | OLD DEE BRIDGE (NORTH BANK) | CM0125401 | SO |  |  | 0 | 0 | 100
Dwr Cymru Welsh Water | OLD WOMANS LANE CHRISTLETON , | CG0358801 | SO |  |  | 0 | 0 | 100
Dwr Cymru Welsh Water | PARKGATE 5 DEE COTTAGES THE PA | CM0170101 | SO | Dee E |  | 9 | 12 | 99.06
Dwr Cymru Welsh Water | PARKGATE EARLE DRIVE/PARKGATE | CM0169901 | SO | Dee W |  | 0 | 0 | 95.95
Dwr Cymru Welsh Water | PARKGATE ROAD PUMPING STATION, CHESTER | CG0317601 | EO |  |  | 554 | 69 | 99.84
Dwr Cymru Welsh Water | PARKGATE THE PARADE PS | CM0170001 | SO | Dee W |  | 612.5 | 71 | 47.97 | Data unavailable from 01/01/2020 -19/02/2020. Data unreliable from 19/02/2020 to 19/07/2020. Due to static telemetry signal. Instrumentation task escalated through business as usual for instrumentation defect.
Dwr Cymru Welsh Water | Pembridge CSO, Parson Walk, Hereford | EPR/JP3525XF | SO |  |  | 24 | 11 | 100
Dwr Cymru Welsh Water | PETTY BRIDGE P S BROMYARD HEREFORD | AN0270001 | SO |  |  | 124 | 75 | 99.68
Dwr Cymru Welsh Water | REAR 3 DINGLE BANK CHESTER , | CG0355401 | SO |  |  | 1.25 | 4 | 100
Dwr Cymru Welsh Water | REAR OF NO 22 CURZON PK NORTH CHE | CG0361001 | SO |  |  | 0 | 0 | 80.56 | Communications issue - escalated through business as usual process for communications failures.
Dwr Cymru Welsh Water | ROSS LOWER CLEEVE WWTW ROSS ON WYE | AN0084101 | SO |  |  | 193.5 | 69 | 100
Dwr Cymru Welsh Water | ROSS-ON-WYE HOPE AND ANCHOR SSO | AN0084201 | SO |  |  | 593 | 97 | 98.55
Dwr Cymru Welsh Water | RUARDEAN STW | AS1003902 | SO |  |  | 983.25 | 73 | 99.97
Dwr Cymru Welsh Water | SAIGHTON STW | CM0183402 | SO |  |  | - | - | 0 | Further work needed on discharge mechanism, revisit planned for 2021.
Dwr Cymru Welsh Water | SALTNEY BRIDGE STREET , , | CG0357701 | SO |  |  | 0 | 0 | 99.94
Dwr Cymru Welsh Water | SALTNEY SEWERAGE SCHEME | CM0020201 | SO |  |  | 46.75 | 54 | 100
Dwr Cymru Welsh Water | SANDY LANE CSO SANDY LANE CAR PARK | CM0167201 | SO |  |  | 39.75 | 82 | 99.95
Dwr Cymru Welsh Water | SAUGHALL SEAHILL ROAD PS | NPSWQD005510 | SO |  |  | 16.5 | 24 | 100
Dwr Cymru Welsh Water | SAUGHALL VILLAGE (SEE CM1997) | CM0059101 | SO |  |  | 24.75 | 14 | 99.22
Dwr Cymru Welsh Water | SEDBURY SPS SEDBURY CHEPSTOW GLOS | AN0302801 | SO |  |  | - | - | 0 | Further work needed on discharge mechanism, revisit planned for 2021.
Dwr Cymru Welsh Water | SHOBDON STW SHOBDON HEREFORD , | AN0272501 | SO |  |  | 660.25 | 114 | 100
Dwr Cymru Welsh Water | SSO NO 2174 BARGATES WHITCHURCH SH | CM0200301 | SO |  |  | 26.75 | 38 | 99.62
Dwr Cymru Welsh Water | SSO NO 2177 OFF SMALLBROOK ROAD WH | CM0200601 | SO |  |  | 18.5 | 20 | 99.46
Dwr Cymru Welsh Water | SSO NO 3175 JUBILEE PARK WHITCHURC | CG0342701 | SO |  |  | 24.25 | 15 | 99.34
Dwr Cymru Welsh Water | SSO WEST OF WEALSTONE LANE UPTON | CM0116401 | SO |  |  | 1.75 | 6 | 99.79
Dwr Cymru Welsh Water | ST BRIAVELS STW LYDNEY | AS1004501 | SO |  |  | 96.5 | 29 | 100
Dwr Cymru Welsh Water | ST MARTINS ALLOTMENTS CSO HEREFORD | AN0078501 | SO |  |  | 163.25 | 41 | 99.77
Dwr Cymru Welsh Water | ST MARTINS SPS NEFOD OSWESTRY | CM0230701 | SO |  |  | 57 | 8 | 99.87
Dwr Cymru Welsh Water | ST.MARTIN'S - SSO (SEE CM 1992 | CM0081201 | SO |  |  | 55 | 14 | 100
Dwr Cymru Welsh Water | TARRINGTON STW TARRINGTON HEREFORD | AN0338901 | SO |  |  | 416.5 | 31 | 100
Dwr Cymru Welsh Water | TATTENHALL MILLBROOK PARK PS | CM0190701 | SO |  |  | 7.5 | 4 | 99.99
Dwr Cymru Welsh Water | THE DINGLE | CG0361401 | SO |  |  | 0.25 | 1 | 98.24
Dwr Cymru Welsh Water | THE DINGLE CHESTER | CG0361101 | SO |  |  | 162.75 | 121 | 97.74
Dwr Cymru Welsh Water | THE GROVES CSO CHESTER | CM0125001 | SO |  |  | - | - | 0 | Further work needed on discharge mechanism, revisit planned for 2021.
Dwr Cymru Welsh Water | TILSTON WWTW (STORM OVERFLOW) | CM0021602 | SO |  |  | 58.25 | 28 | 99.98
Dwr Cymru Welsh Water | Well Street CSO, Malpas, Cheshire, SY14 8QL | EPR/MP3422GZ | SO |  |  | 0 | 0 | 99.82
Dwr Cymru Welsh Water | WEOBLEY - MANHOLE 9 | AN0125901 | SO |  |  | 162.25 | 64 | 99.15
Dwr Cymru Welsh Water | WHITECROSS ROAD CSO HEREFORD | AN0078001 | SO |  |  | 2 | 4 | 99.69
Dwr Cymru Welsh Water | WILTON SEWAGE PUMPING STATION OFF A | AN0372801 | SO |  |  | 20.5 | 9 | 99.97
Dwr Cymru Welsh Water | WYEBANK RD/WYEBANK CLOSE CHEPSTOW | AN0035401 | SO |  |  | 38.75 | 28 | 99.53